Compliance Check to AS 2022-2003 - The Storage and Handling of Anhydrous Ammonia

| Company Name: |  |
| --- | --- |
| Location of Proposed/Existing Storage or Handling Facility: |  |

Details of Proposed/Existing Anhydrous Ammonia – Storage and Handling

| Dangerous Good Division | UN No | Name of Dangerous Good | Quantity(kL) | Description of Storage (Tank or Package) | ID Number(if applicable) |
| --- | --- | --- | --- | --- | --- |

AS 2022-2003   the storage and handling of Anhydrous Ammonia

| SECTION 1 SCOPE AND GENERAL | Page | AS 2022 Specification | Describe what is proposed/actual to demonstrate compliance | Complies (Y/N/NA) |
| --- | --- | --- | --- | --- |
| 1.1 SCOPE | 6 |  |  |  |
| 1.2 REFERENCED DOCUMENTS | 6 |  |  |  |
| 1.3 DEFINITIONS | 6 |  |  |  |

| SECTION 2 GENERAL REQUIREMENTS FOR SYSTEMS AND EQUIPMENT | Page | AS 2022 Specification | Describe what is proposed/actual to demonstrate compliance | Complies (Y/N/NA) |
| --- | --- | --- | --- | --- |
| 2.1 APPLICATION | 9 |  |  |  |
| 2.2 OPERATING PRESSURE AND DESIGN PRESSURE | 9 |  |  |  |
| 2.3 MATERIALS | 9 |  |  |  |
| 2.4 ELECTRICAL EQUIPMENT AND WIRING | 9 |  |  |  |
| 2.5 PROTECTION OF FITTINGS | 9 |  |  |  |
| 2.6 FILLING AND DISCHARGE CONNECTIONS | 10 |  |  |  |
| 2.7 VALVES AND FITTINGS | 10 |  |  |  |
| 2.8 EXCESS FLOW VALVES AND EXCESS FLOW PROTECTION | 10 |  |  |  |
| 2.9 PIPING | 12 |  |  |  |
| 2.10 LIQUID LOADING AND UNLOADING CONNECTIONS | 13 |  |  |  |
| 2.11 FLEXIBLE STEEL HOSE | 13 |  |  |  |
| 2.12 RUBBER HOSE | 13 |  |  |  |
| 2.13 PUMPS | 14 |  |  |  |
| 2.14 COMPRESSORS | 14 |  |  |  |
| 2.15 VAPORIZERS | 15 |  |  |  |
| 2.16 EMERGENCY SHUT DOWN SYSTEM | 15 |  |  |  |
| 2.17 DRIVE-AWAY PROTECTION | 16 |  |  |  |
| 2.18 SAFETY EQUIPMENT | 16 |  |  |  |
| 2.19 PERSONAL PROTECTION EQUIPMENT | 17 |  |  |  |

| SECTION 3 TANK STORAGES | Page | AS 2022 Specification | Describe what is proposed/actual to demonstrate compliance | Complies (Y/N/NA) |
| --- | --- | --- | --- | --- |
| 3.1 APPLICATION | 18 |  |  |  |
| 3.2 TANKS | 18 |  |  |  |
| 3.3 PRESSURE RELIEF VALVES | 18 |  |  |  |
| 3.4 EXCESS FLOW VALVES AND NON RETURN VALVES | 19 |  |  |  |
| 3.5 MANUAL SHUT OFF VALVES | 19 |  |  |  |
| 3.6 VAPOUR RETURN VALVE | 20 |  |  |  |
| 3.7 LIQUID LEVEL GAUGES | 20 |  |  |  |
| 3.8 PRESSURE GAUGES | 20 |  |  |  |
| 3.9 TEMPERATURE GAUGES | 20 |  |  |  |
| 3.10 TANK LOCATION | 21 |  |  |  |
| 3.11 INSTALLATION | 22 |  |  |  |
| 3.12 SAFETY EQUIPMENT | 23 |  |  |  |

| SECTION 4 TANKS TRANSPORTATION | Page | AS 2022 Specification | Describe what is proposed/actual to demonstrate compliance | Complies (Y/N/NA) |
| --- | --- | --- | --- | --- |
| 4.1 APPLICATION | 25 |  |  |  |
| 4.2 GENERAL | 25 |  |  |  |
| 4.3 ROAD AND RAIL TANK VEHICLES | 25 |  |  |  |
| 4.4 SKID TANKS, NURSE TANKS AND APPLICATOR TANKS | 25 |  |  |  |
| 4.5 PLACARDING | 26 |  |  |  |

| SECTION 5 CYLINDERS AND CYLINDER SYSTEMS | Page | AS 2022 Specification | Describe what is proposed/actual to demonstrate compliance | Complies (Y/N/NA) |
| --- | --- | --- | --- | --- |
| 5.1 APPLICATION | 27 |  |  |  |
| 5.2 EQUIPMENT | 27 |  |  |  |
| 5.3 STORAGE AND HANDLING | 27 |  |  |  |
| 5.4 INSPECTION AND TESTING | 28 |  |  |  |
| 5.5 FILLING CYLINDERS | 28 |  |  |  |
| 5.6 CYLINDER HANDLING AND TRANSPORT | 28 |  |  |  |
| 5.7 SAFETY EQUIPMENT | 28 |  |  |  |

| SECTION 6 REFRIGERATED STORAGE | Page | AS 2022 Specification | Describe what is proposed/actual to demonstrate compliance | Complies (Y/N/NA) |
| --- | --- | --- | --- | --- |
| 6.1 APPLICATION OF SECTION | 30 |  |  |  |
| 6.2 TANK CONSTRUCTION | 30 |  |  |  |
| 6.3 LOCATION AND INSTALLATION | 30 |  |  |  |
| 6.4 FILLING AND DISCHARGING VALVES | 31 |  |  |  |
| 6.5 PRESSURE RELIEF | 32 |  |  |  |
| 6.6 REFRIGERATION SYSTEMS | 32 |  |  |  |

| SECTION 7 OPERATIONS | Page | AS 2022 Specification | Describe what is proposed/actual to demonstrate compliance | Complies (Y/N/NA) |
| --- | --- | --- | --- | --- |
| 7.1 APPLICATION | 35 |  |  |  |
| 7.2 ESTABLISHMENT OF PROCEDURES | 35 |  |  |  |
| 7.3 PLACARDING | 37 |  |  |  |
| 7.4 TRAINING OF PERSONNEL | 37 |  |  |  |
| 7.5 WORK ACTIVITIES AND SUPERVISION | 38 |  |  |  |
| 7.6 COMPLIANCE WITH PROCEDURES | 38 |  |  |  |
| 7.7 RECORDS | 38 |  |  |  |
| 7.8 GENERAL PRECAUTIONS | 38 |  |  |  |
| 7.9 INSPECTION AND TESTING | 39 |  |  |  |
| 7.10 TRANSFER OF ANHYDROUS AMMONIA | 40 |  |  |  |
| 7.11 LEAK DETECTION AND LOCATION | 41 |  |  |  |
| 7.12 REPAIRS | 42 |  |  |  |

| SECTION 8 EMERGENCY MANAGEMENT | Page | AS 2022 Specification | Describe what is proposed/actual to demonstrate compliance | Complies (Y/N/NA) |
| --- | --- | --- | --- | --- |
| 8.1 APPLICATION | 43 |  |  |  |
| 8.2 PLANNING FOR EMERGENCIES | 43 |  |  |  |
| 8.3 MANIFEST | 44 |  |  |  |
| 8.4 PLACARDING | 45 |  |  |  |
| 8.5 MANAGEMENT OF LEAKS AND SPILLS | 45 |  |  |  |

| SECTION 9 FIRE PROTECTION | Page | AS 2022 Specification | Describe what is proposed/actual to demonstrate compliance | Complies (Y/N/NA) |
| --- | --- | --- | --- | --- |
| 9.1 APPLICATION | 47 |  |  |  |
| 9.2 GENERAL CONSIDERATIONS | 47 |  |  |  |
| 9.3 FIXED FIRE PROTECTION AND DETECTION SYSTEMS | 49 |  |  |  |
| 9.4 FIRE ALARM SYSTEMS | 49 |  |  |  |
| 9.5 FIRE EXTINGUISHERS | 49 |  |  |  |
| 9.6 HOSE REELS | 50 |  |  |  |
| 9.7 FIRE HYDRANTS | 50 |  |  |  |
| 9.8 MONITORS | 51 |  |  |  |
| 9.9 SPRINKLER SYSTEMS | 51 |  |  |  |
| 9.10 WATER SUPPLY | 51 |  |  |  |
| 9.11 FIRE PROTECTION REQUIREMENTS | 52 |  |  |  |
| 9.12 ACTION IN EVENT OF A FIRE | 52 |  |  |  |

Areas of Non-conformance and Action Plan

| Non Conformance Number | Section Number | Action Plan | Action by | Due Date | Completion Date | Comments |
| --- | --- | --- | --- | --- | --- | --- |

Compliance check summary

This proposed / existing – Anhydrous Ammonia – tank or cylinder store - complies/does not comply with AS 2022-2003.

Name of assessor/s ……………………………………………………	………………………………………………………………	Date ……………………

Signature/s ………………………………………………………………	Date of next review …………………………………………………………………